## lines
Description | phases | voltage_kV | ampere_rating | line_placement | cost_per_m | cost_units
new_line | 1 | 0.24 | 25 | overhead | 1 | USD
reconductored_line | 3 | 2.7713 | 330 | overhead | 2 | USD
new_line | 3 | 4.8 | 164 | overhead | 1 | USD
new_line | 1 | 0.24 | 25 | underground | 1 | USD
new_line | 3 | 4.8 | 140 | underground | 1 | USD
new_line | 3 | 4.8 | 164 | underground | 1 | USD
reconductored_line | 1 | 0.24 | 25 | overhead | 1 | USD
new_line | 3 | 4.8 | 140 | overhead | 1 | USD
reconductored_line | 3 | 4.8 | 164 | overhead | 1 | USD
reconductored_line | 1 | 0.24 | 25 | underground | 1 | USD
reconductored_line | 3 | 4.8 | 140 | underground | 1 | USD
reconductored_line | 3 | 4.8 | 164 | underground | 1 | USD

## transformers
phases | primary_kV | secondary_kV | num_windings | primary_connection_type | secondary_connection_type | rated_kVA | cost | cost_units
1 | 4.8 | 0.12 | 3 | delta | wye | 167 | 1 | USD/unit
1 | 4.8 | 0.12 | 2 | delta | wye | 50 | 1 | USD/unit
1 | 4.8 | 0.12 | 2 | wye | wye | 50 | 1 | USD/unit
1 | 4.8 | 0.12 | 2 | delta | wye | 75 | 1 | USD/unit
1 | 4.8 | 0.12 | 2 | delta | wye | 100 | 1 | USD/unit
3 | 4.8 | 0.48 | 2 | delta | delta | 112.5 | 1 | USD/unit
3 | 4.8 | 0.48 | 2 | delta | delta | 150 | 1 | USD/unit
3 | 4.8 | 0.48 | 2 | delta | delta | 225 | 1 | USD/unit

## control_changes
Type | cost | cost_units
Change LTC setpoint | 1 | USD/unit
Change LTC controller | 1 | USD/unit
Change voltage regulator controller settings | 1 | USD/unit
Change capacitor controller settings | 1 | USD/unit
Replace voltage regulator controller | 1 | USD/unit
Replace capacitor controller | 1 | USD/unit
Add new capacitor controller | 1
Add new voltage regulator controller | 1

## voltage_regulators
Type | phases | transformer_kVA | voltage_kV | cost | cost_units
Add new voltage regulator | 1 | 1000 | 15 | 1 | USD/unit
Add new voltage regulator | 1 | 1000 | 35 | 1 | USD/unit

## misc
Description | total_cost | cost_units
Replace transformer (fixed cost) | 1 | USD/unit
Add new transformer (fixed cost) | 2 | USD/unit

## questions
Assumptions
1 | Assume that the costs for each row are inclusive of labor/land/etc. User has to ensure that.
2 | Difference in cost if new transformer is added in parallel, as compared to changing the rating of a transformer - would mean removing and then replacing